## Sheet1
BID RESULTS SUMMARY
IFB #25-08 FIRE ALARM INSPECTION AND TESTING
| BID OPENING 4/15/25 2PM | [10 empty] | Johnson Controls Fire Protection, LP 16 Brooks St., Worcester, MA |  |  | Encore Fire Protection 70 Bacon St. Pawtucket, RI |  |  | Minuteman Security & Life Safety 1 Connetor Road, Andover, MA |  |  | Norel Service Company, Inc. 1 Monarch Dr., Littleton, MA
[12 empty] | steven.marbes@jci.com |  |  | jmulhern@encorefireprotection.com |  |  | rhoude@minutemanst.com |  |  | swatson@norelservice.com
# | Project | Address | Maintenance Area | No. of Buildings | No. of FACPs | No. of Devices (est.): | Last Inspection Date (Month-Year) | Overdue for Inspection? | 2025 Inspection Sequence | 2026 Inspection Sequence | 2027 Inspection Sequence | 2025 Pricing | 2026 Pricing | 2027 Pricing | 2025 Pricing | 2026 Pricing | 2027 Pricing | 2025 Pricing | 2026 Pricing | 2027 Pricing | 2025 Pricing | 2026 Pricing | 2027 Pricing
1 | Mayside | 15-29 Mayside Ln, 20-26 May St | Area 2 | 7 (Garden Style) | 7 (Notifier) | Smoke Detectors – 133 Pull Stations – 14 Horns/Strobes – 14 | 2025-05-24 | No | 2025-05-25 | 2025-05-26 | 2025-05-27 | 2558 | 2737 | 2912 | 2500 | 2575 | 2652 | 2994 | 3084 | 3177 | 3125 | 3218 | 3315
2 | Addison | 2-26 Addison St, 130-144 Dorchester St | Area 3 | 7 (Garden Style) | 7 (Notifier) | Smoke Detectors – 137 Pull Stations – 11 Horns/Strobes – 20 | 2025-05-24 | No | 2025-05-25 | 2025-05-26 | 2025-05-27 | 2556 | 2735 | 2910 | 2500 | 2575 | 2652 | 3098 | 3190 | 3286 | 3125 | 3218 | 3315
3 | Mill Pond and Mill Pond Extension | 1-11 Lowland Ct, 5-27 Mill Pond Rd, 576-580 Mill St, 590-600 Mill St | Area 2 | 10 (Garden Style) | 11 (Notifier) | Smoke Detectors – 208 Pull Stations – 36 Horns/Strobes – 18 | 2025-05-24 | No | 2025-05-25 | 2025-05-26 | 2025-05-27 | 3630 | 3884 | 4133 | 4100 | 4223 | 4350 | 4838 | 4983 | 5133 | 5250 | 5407 | 5569
4 | Lincoln Park Tower | 11 Lake Ave | Area 3 | 1 (High Rise) | 1 (Simplex) | Smoke Detectors – 77 Pull Stations – 61 Horns/Strobes – 69 | 2025-06-24 | No | 2025-06-25 | 2025-06-26 | 2025-06-27 | 1876 | 2008 | 2136 | 2050 | 2112 | 2175 | 3186 | 3282 | 3380 | 2150 | 2214 | 2280
5 | Pleasant Towers 275 | 275 Pleasant St. | Area 3 | 1 (High Rise) | 1 (Simplex) | Smoke Detectors – 72 Pull Stations – 27 Horns/Strobes – 27 | 2025-06-24 | No | 2025-06-25 | 2025-06-26 | 2025-06-27 | 1577 | 1687 | 1795 | 1525 | 1571 | 1618 | 1991 | 2056 | 2113 | 1500 | 1545 | 1591
6 | 1050 Main (East) | 1050 Main St. | Area 2 | 1 (High Rise) | 1 (Notifier) | Smoke Detectors – 212 Pull Stations – 46 Horn/Strobes– 66 | 2025-06-24 | No | 2025-06-25 | 2025-06-26 | 2025-06-27 | 2499 | 2674 | 2845 | 3550 | 3657 | 3767 | 4912 | 5059 | 5211 | 3450 | 3554 | 3661
7 | 1060 Main (West) | 1060 Main St. | Area 2 | 1 (High Rise) | 1 (Notifier) | Smoke Detectors – 170 Pull Stations – 42 Horn/Strobes– 74 | 2025-10-23 | Yes | TBD | TBD | TBD | 2236 | 2392 | 2545 | 3050 | 3142 | 3236 | 4351 | 4482 | 4616 | 3300 | 3399 | 3501
8 | Belmont Tower | 40 Belmont St. | Area 3 | 1 (High Rise) | 1 (Notifier) | Smoke Detectors – 258 Pull Stations – 61 Horn/Strobes– 69 | 2025-07-24 | No | 2025-07-25 | 2025-07-26 | 2025-07-27 | 2855 | 3055 | 3251 | 4050 | 4172 | 4297 | 5856 | 6031 | 6212 | 4000 | 4120 | 4244
9 | Elm Park Tower | 425 Pleasant St. | Area 2 | 1 (High Rise) | 1 (Notifier) | Smoke Detectors – 649 Pull Stations – 40 Horn/Strobes– 566 | June-24 | NO | 2025-06-25 | 2025-06-26 | 2025-06-27 | 4854 | 5194 | 5526 | 11675 | 12025 | 12386 | 18644 | 19203 | 19779 | 8200 | 8446 | 8699
10 | Murray Ave ** | 50 Murray Ave. | Area 3 | 1 (High Rise) | 1 (Notifier) | Smoke Detectors – 215 Pull Stations – 22 Horns/Strobes – 178 | MOD PROJ | No | MOD PROJ | MOD PROJ | MOD PROJ | 2323 | 2486 | 2645 | 4050 | 4172 | 4297 | 6254 | 6442 | 6635 | 4100 | 4223 | 4350
11 | Wellington ** | 30 Wellington St. | Area 3 | 1 (High Rise) | 1 (Notifier) | Smoke Detectors – 405 Pull Stations – 43 Horns/Strobes – 310 | MOD PROJ | No | MOD PROJ | MOD PROJ | MOD PROJ | 3536 | 3784 | 4026 | 7600 | 7828 | 8063 | 11313 | 11653 | 12002 | 6400 | 6592 | 6789
12 | Lakeside | 52-54 S. Circuit Ave, 17-20 Garland St, 1-4 Veterans Ave, 2-46 Lakeside Ave, 15 Lovell St | Area 2 | 7 (Garden Style) | 7 | Smoke Detectors - 632 Pull Stations – 29 Horns/Strobes – 160 | 2025-05-24 | No | 2025-05-25 | 2025-05-26 | 2025-05-27 | 4673 | 5000 | 5320 | 10675 | 10995 | 11325 | 12729 | 13111 | 13504 | 8125 | 8369 | 8620
13 | 201 Providence | 201 Providence Street | Area 3 | 1 (Garden Style) | 1 (Gamewell) | Smoke Detectors – 98 Pull Stations – 9 Horns/Strobes – 9 | 2025-10-23 | Yes | TBD | TBD | TBD | 1559 | 1668 | 1775 | 1600 | 1648 | 1697 | 1800 | 1853 | 1909 | 1500 | 1545 | 1591
14 | Lafayette Place | 2 Lafayette St | Area 3 | 1 (High Rise) | 1 (Simplex 4100u) | Smoke Detectors – 118 Pull Stations - 16 Horns/Strobes – 30 | 2025-06-24 | No | 2025-06-25 | 2025-06-26 | 2025-06-27 | 1725 | 1846 | 1964 | 2050 | 2112 | 2175 | 2552 | 2628 | 2707 | 1900 | 1957 | 2016
15 | Booth | 698-730 Lincoln St, 1-89 Haven Ln | Area 1 | 11 (Garden Style) | 1 (Gamewell 7100) | Smoke Detectors – 63 Pull Stations – 9 Horns/Strobes – 14 | 2025-05-24 | No | 2025-05-25 | 2025-05-26 | 2025-05-27 | 1383 | 1480 | 1575 | 1525 | 1571 | 1618 | 1357 | 1398 | 1440 | 1300 | 1339 | 1399
16 | GBV- 180 Constitution | 180 Constitution Ave (GBV) | Area 1 | 1 | 1 (Simplex) | Smoke Detectors – 27 Pull Stations – 5 Horns/Strobes –11 | 2025-03-24 | Yes | TBD | TBD | TBD | 1153 | 1234 | 1313 | 1000 | 1030 | 1060 | 723 | 744 | 767 | 850 | 876 | 902
17 | GBV- 35/45 Freedom | 35/45 Freedom Way (GBV) | Area 1 | 1 | 1 (Honeywell | Smoke Detectors – 30 Pull Stations – 7 Horns/Strobes – 22 | 2025-03-24 | Yes | TBD | TBD | TBD | 1186 | 1269 | 1350 | 1000 | 1030 | 1060 | 959 | 988 | 1017 | 995 | 1014 | 1044
18 | GBV- Step Up Garage | 2 New Vista Lane | Area 1 | Garage | 1 (MFA Mammoth) | Smoke Detectors – 8 Pull Stations – 4 Horns/Strobes –9 | 2025-03-24 | Yes | TBD | TBD | TBD | 1041 | 1114 | 1185 | 750 | 773 | 796 | 398 | 410 | 423 | 800 | 824 | 849
19 | GBV- Day Care | 160 Tacoma | Area 1 | 1 | FireLite - Approximate quantities | Smoke Detectors – 30 Pull Stations – 7 Horns/Strobes – 22 | No Data | Yes | TBD | TBD | TBD | 1186 | 1269 | 1350 | 750 | 773 | 796 | 959 | 988 | 1017 | 985 | 1014 | 1044
20 | GBV- Day Care | 117 Constitution | Area 1 | 1 | FireLite - Approximate quantities | Smoke Detectors – 30 Pull Stations – 7 Horns/Strobes – 22 | No Data | Yes | TBD | TBD | TBD | 1186 | 1269 | 1350 | 750 | 773 | 796 | 959 | 988 | 1017 | 985 | 1014 | 1044
21 | Greenwood ** | 327-341 Greenwood St | Area 2 | 7 (Garden Style) | 8 (Notifier) | Smoke Detectors – 165 Pull Stations – 17 Horns/Strobes – 17 | MOD PROJ | No | MOD PROJ | MOD PROJ | MOD PROJ | 2883 | 3085 | 3283 | 3550 | 3657 | 3767 | 3643 | 3753 | 3865 | 3500 | 3625 | 3713
22 | 630A Plantation and 630 Plantation (WHA Headquarters) | 630 and 630A Plantation St | Area 3 | 2 | 2 (Notifier) | Smoke Detectors – 80 Pull Stations – 36 Horns/Strobes – 48 | 2025-05-24 | No | 2025-05-25 | 2025-05-26 | 2025-05-27 | 1818 | 1945 | 2069 | 2100 | 2163 | 2228 | 2596 | 2674 | 2754 | 2200 | 2266 | 2334
23 | 197-199 Providence (689) | 197-199 Providence Street | Area 3 | 1 (Garden Style) | 1 (Notifier) | Smoke Detectors – 20 Pull Stations – 5 Horns/Strobes – 8 | 2025-04-24 | No | 2025-04-25 | 2025-04-26 | 2025-04-27 | 1115 | 1193 | 1269 | 750 | 773 | 796 | 575 | 593 | 610 | 825 | 850 | 876
24 | CTC 32 Oberlin (689) ** | 32 Oberlin Street (689) | Area 2 | 1 (Garden Style) | 1 Notifier | Smoke Detectors – 20 Pull Stations – 8 Horns/Strobes – 15 | MOD PROJ | No | MOD PROJ | MOD PROJ | MOD PROJ | 1139 | 1218 | 1296 | 600 | 618 | 637 | 723 | 744 | 767 | 850 | 875 | 901
25 | 8-10 Hudson (689) ** | 8-10 Hudson Street (689) | Area 2 | 1 (Garden Style) | 1 Notifier | Smoke Detectors – 24 Pull Stations – 2 Horns/Strobes – 12 | MOD PROJ | No | MOD PROJ | MOD PROJ | MOD PROJ | 1113 | 1191 | 1267 | 600 | 618 | 637 | 649 | 688 | 689 | 825 | 850 | 876
26 | 309 Hamilton (689) ** | 309 Hamilton Street (689) | Area 3 | 1 (Garden Style) | 1 Notifier | Smoke Detectors – 21 Pull Stations – 9 Horns/Strobes – 14 | MOD PROJ | No | MOD PROJ | MOD PROJ | MOD PROJ | 1152 | 1233 | 1312 | 750 | 773 | 796 | 738 | 760 | 782 | 875 | 901 | 928
27 | 129 Blackstone You INC. (689) | 129 Blackstone River Road (689) | Area 2 | 1 (Garden Style) | 1 | Smoke Detectors – 21 Pull Stations – 3 Horns/Strobes – 5 | 2025-04-24 | No | 2025-04-25 | 2025-04-26 | 2025-04-27 | 1104 | 1182 | 1513 | 750 | 773 | 796 | 516 | 532 | 548 | 875 | 901 | 928
28 | 38 Lewis Street | 38 Lewis Street | Area 2 | 1 (Garden Style) | 1 | Smoke Detectors – 34 Pull Stations - 8 Horns/Strobes - 42 | 2025-11-23 | Yes | TBD | TBD | TBD | 1216 | 1364 | 1706 | 1050 | 1082 | 1114 | 1328 | 1367 | 1408 | 925 | 953 | 982
[12 empty] | 57132 | 61196 | 65621 | 76900 | 79214 | 81587 | 100641 | 103684 | 106768 | 72915 | 75109 | 77361
** MOD to upgrade in 2025 | [13 empty] | 183949 |  |  | 237701 |  |  | 311093 |  |  | 225385